## Assessment Blueprint
Assessment Blueprint
Assessment Overview
Sector | Construction
Job Role | MEP Supervisor - Maintenance
QP Code | ICE/CON/Q1001
Version | 1
NSQF level | 5
No. of Questions (Theory + Practical+Viva) | 20+7+12=39
Duration (Minutes) | Theory: 60 Minutes Viva: 60 Minutes Practical: 360 Minutes
Acceptable level of variance in duration and no. of Questions Per NOS | +-10%
Language | English
INSTRUCTIONS
1. Total duration of the examination is 480 Minutes (Theory: 60 Minutes + Viva: 60 Minutes + Practical: 360 Minutes) 2. This test contains 20 Theory, 7 Practical and 12 Viva questions. 3. The Theory section includes MCQ Type and Pictographical Type Questions. 4. Practical section contains a single job pertaining to respective NOS which should be completed in the allocated time. 5. Viva section contains 12 questions which should be completed in only during Practical allocated time. 6. For practical and viva, an assessor will be assigned with both Measuremental and Judgemental Assessment criterion and it will be referred during Assessment proccess.

## Theory
Sample Questions - Theory
S.No. | NOS Code | NOS Details | Question Type | Question |  | Option 1 (A) | Option 2 (B) | Option 3 (C) | Option 4 (D) | Correct Answer | Marks Assigned for the Question
1 | ICE/CON/N1005 | Supervise the Maintenance and Repair of Mechanical Systems | MCQ Type | Which component in an HVAC system is responsible for compressing refrigerant gas? |  | Evaporator | Condenser | Compressor | Thermostat | C | 10
2 |  |  |  | What is the primary purpose of preventive maintenance of mechanical systems? |  | Increase energy consumption | Reduce equipment life | Prevent unexpected breakdowns | Increase repair costs | C | 10
3 |  |  |  | Identify the HVAC Component Line Diagram (Hint: Refrigerant enters as gas and exits as high-pressure gas) | #VALUE! | Evaporator | Compressor | Condenser | Expansion Valve | B | 10
4 | ICE/CON/N1002 | Supervise the Electrical Works | MCQ Type | According to Ohm's Law, current is equal to: |  | Voltage × Resistance | Voltage ÷ Resistance | Resistance ÷ Voltage | Power × Voltage | B | 10
5 |  |  |  | Which electrical system is generally used for long-distance power transmission? |  | DC System | AC System | Battery System | UPS System | B | 10
6 |  |  |  | Identify the Electrical Symbol | #VALUE! | Motor | Transformer | Lamp | Capacitor | C | 10
7 | ICE/CON/N1004 | Supervise the Maintenance and Repair of the Plumbing System | MCQ Type | Which tool is commonly used to tighten or loosen pipes? |  | Multimeter | Pipe Wrench | Crimping Tool | Megger | B | 10
8 |  |  |  | What is the primary purpose of a sewage treatment plant (STP)? |  | Water storage | Electrical generation | Wastewater treatment | Air purification | C | 10
9 |  |  |  | Identify the Plumbing Fitting | #VALUE! | Elbow | Coupling | Tee Joint | Reducer | C | 10
10 | ICE/CON/N1003 | Apply Computer and IT Skills at Work | MCQ Type | Which Microsoft Office application is primarily used for spreadsheet management? |  | Word | PowerPoint | Excel | Outlook | C | 10
11 |  |  |  | Which networking device connects computers within a Local Area Network (LAN)? |  | Printer | Scanner | Switch | Projector | C | 10
12 |  |  |  | Identify the Application | #VALUE! | MS Word | MS Excel | MS Paint | Browser | B | 10
13 | ICE/CON/N1006 | Ensure Adherence to Health and Safety Guidelines at Work | MCQ Type | Which PPE should be used to protect the head at a construction site? |  | Gloves | Goggles | Helmet | Ear Plug | C | 10
14 |  |  |  | What is the first step during a workplace emergency? |  | Ignore the incident | Report and respond as per emergency procedure | Continue working | Switch off lights only | B | 10
15 |  |  |  | Identify the Safety Sign | #VALUE! | Mandatory Sign | Warning Sign | Information Sign | Fire Exit Sign | B | 10
16 | ICE/CON/N1001 | Supervise the Use and Control of BMS | MCQ Type | What is the full form of BMS in building maintenance? |  | Building Management System | Building Mechanical Service | Basic Monitoring Service | Building Maintenance Setup | A | 10
17 |  |  |  | Which of the following is a major component of a BMS? |  | Sensor | Controller | Actuator | All of the Above | D | 10
18 |  |  |  | Identify the BMS Architecture Component | #VALUE! | Measure data | Execute action directly | Process inputs and issue commands | Generate power | C | 10
19 | DGT/VSQ/N0102 | Employability Skills (60 Hours) | MCQ Type | Which skill is most important for effective workplace communication? |  | Ignoring Feedback | Active Listening | Interrupting Others | Avoiding Discussions | B | 10
20 |  |  |  | Entrepreneurship primarily refers to: |  | Following Instructions Only | Working Alone | Avoiding Risk Completely | Creating and Managing Opportunities or Businesses | D | 10
TOTAL | [10 empty] | 200

## Practical
Sample Questions - Practical
S.No. | NOS Code | NOS Details | Question Type | Question | Tasks to be Performed | Marks Assigned for the Question
1 | ICE/CON/N1005 | Supervise the Maintenance and Repair of Mechanical Systems | Structured Practical Task | A commercial building's HVAC system is reporting inadequate cooling in one zone. As an MEP Supervisor, inspect the system and supervise the maintenance activities. | Review the HVAC system layout and maintenance records. | 50
Inspect AHU, FCU, compressor, filters, belts, and ducting.
Identify possible causes of inadequate cooling.
Guide technicians in rectifying the identified faults.
Verify system performance after maintenance.
Prepare a maintenance report highlighting observations and corrective actions.
2 | ICE/CON/N1002 | Supervise the Electrical Works | Structured Practical Task | Supervise the installation and testing of a Low Voltage (LV) electrical distribution system for a building floor. | Study the electrical drawing and load schedule. | 50
Verify cable size, conduit route, and DB installation location.
Supervise cable laying and termination.
Check earthing and protective devices.
Conduct insulation resistance and continuity tests.
Record test results and approve the installation.
3 | ICE/CON/N1004 | Supervise the Maintenance and Repair of the Plumbing System | Structured Practical Task | A building has recurring water leakage and reduced water pressure. Supervise the inspection and repair process. | Review plumbing layout drawings. | 50
Identify leakage points and pressure loss causes.
Supervise replacement of defective pipes, fittings, or valves.
Conduct pressure and leakage tests.
Verify restoration of normal water flow.
Prepare a maintenance completion report.
4 | ICE/CON/N1003 | Apply Computer and IT Skills at Work | Structured Practical Task | Prepare and present a monthly maintenance performance report using computer applications. | Create maintenance data sheets in MS Excel. | 50
Use formulas to calculate equipment downtime and maintenance costs.
Prepare charts and graphs.
Create a PowerPoint presentation summarizing findings.
Email the report to the assessor using proper email etiquette.
Save and organize files appropriately.
5 | ICE/CON/N1006 | Ensure Adherence to Health and Safety Guidelines at Work | Structured Practical Task | Conduct a workplace safety inspection in an MEP maintenance area and implement corrective actions. | Inspect the work area for safety hazards. | 50
Identify PPE requirements.
Check housekeeping conditions.
Verify emergency equipment availability.
Demonstrate emergency response and first-aid procedures.
Prepare a hazard observation and corrective action report.
6 | ICE/CON/N1001 | Supervise the Use and Control of BMS | Structured Practical Task | Monitor and control building services using a Building Management System (BMS). | Log into the BMS workstation. | 50
Monitor HVAC, electrical, and plumbing system parameters.
Identify alarms or abnormal operating conditions.
Generate a trend report from the system.
Adjust operating parameters as per specified requirements.
Document observations and recommendations.
7 | DGT/VSQ/N0102 | Employability Skills (60 Hours) | Structured Practical Task | Demonstrate professional workplace behaviour and communication skills in a laboratory environment. | Participate in a team discussion regarding a testing assignment. | 30
Communicate testing requirements effectively.
Demonstrate problem-solving in a workplace scenario.
Use basic digital tools for documentation.
Prepare a professional email/report.
Demonstrate time management while completing assigned tasks.
Present the completed work professionally to the assessor.
TOTAL | [5 empty] | 330

## Viva
Sample Questions - Viva
S.No. | NOS Code | NOS Details | Question Type | Question | Suggested Answer | Marks Assigned for the Question
1 | ICE/CON/N1005 | Supervise the Maintenance and Repair of Mechanical Systems | Oral Type | What is the importance of Preventive Maintenance in HVAC systems? | Preventive maintenance helps identify potential faults before failure occurs, improves equipment efficiency, reduces downtime, increases equipment life, and lowers maintenance costs. | 10
2 |  |  |  | What are the major components of an Air Handling Unit (AHU)? | The major components include filters, blower/fan, cooling coil, heating coil, dampers, motor, and control panel. | 10
3 | ICE/CON/N1002 | Supervise the Electrical Works | Oral Type | Why is earthing important in electrical installations? | Earthing provides a safe path for fault current to flow to the ground, protecting personnel and equipment from electric shock and damage. | 10
4 |  |  |  | What is the function of an MCB and how does it differ from a fuse? | An MCB automatically trips during overload or short circuit and can be reset, whereas a fuse melts and must be replaced after operation. | 10
5 | ICE/CON/N1004 | Supervise the Maintenance and Repair of the Plumbing System | Oral Type | What are the common causes of water leakage in plumbing systems? | Damaged pipes, loose joints, faulty valves, excessive pressure, corrosion, and improper installation can cause leakage. | 10
6 |  |  |  | What is the purpose of a Sewage Treatment Plant (STP)? | An STP treats wastewater by removing contaminants before discharge or reuse, protecting public health and the environment. | 10
7 | ICE/CON/N1003 | Apply Computer and IT Skills at Work | Oral Type | What is the difference between system software and application software? | System software manages computer hardware and operations (e.g., Windows), while application software performs specific tasks (e.g., MS Excel, MS Word). | 10
8 |  |  |  | Why is Microsoft Excel commonly used in maintenance management? | Excel helps record maintenance data, perform calculations, create reports, analyse trends, and track equipment performance. | 10
9 | ICE/CON/N1006 | Ensure Adherence to Health and Safety Guidelines at Work | Oral Type | What PPE is required while working on electrical maintenance activities? | Safety helmet, insulated gloves, safety shoes, goggles, arc-flash protection, and reflective jackets. | 10
10 |  |  |  | What should be done first when an accident occurs at the workplace? | Ensure personal safety, secure the area, provide first aid, inform authorities, and follow emergency response procedures. | 10
11 | ICE/CON/N1001 | Supervise the Use and Control of BMS | Oral Type | What is a Building Management System (BMS)? | A BMS is a centralized system used to monitor, control, and optimize building services such as HVAC, electrical, plumbing, fire, and security systems. | 10
12 |  |  |  | What are the major components of a BMS? | Sensors, controllers, actuators, communication networks, field devices, and operator workstations. | 10
TOTAL | [5 empty] | 120